## 153_16
S&C Power Fuses - Types SMD-2B and SMD-3 (69 kV) | [9 empty] | S&C Power Fuses - Types SMD-2B and SMD-3 (69 kV) | [9 empty] | S&C Power Fuses - Types SMD-2B and SMD-3 (69 kV) | [9 empty] | S&C Power Fuses - Types SMD-2B and SMD-3 (69 kV) | [9 empty] | S&C Power Fuses - Types SMD-2B and SMD-3 (69 kV)
Standard Speed (TCC 153-1-6) | [9 empty] | Standard Speed (TCC 153-1-6) | [9 empty] | Standard Speed (TCC 153-1-6) | [9 empty] | Standard Speed (TCC 153-1-6) | [9 empty] | Standard Speed (TCC 153-1-6)
Total Clearing Time-Current Characteristic Curves Dated August 29, 1988 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated August 29, 1988 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated August 29, 1988 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated August 29, 1988 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated August 29, 1988
Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus.
3E |  | 5E |  | 7E |  | 10E |  | 13E |  | 15E |  | 20E |  | 25E |  | 30E |  | 40E |  | 50E |  | 65E |  | 80E |  | 100E |  | 125E |  | 150E |  | 175E |  | 200E |  | 250E |  | 300E |  | 2-200E |  | 2-250E |  | 2-300E
Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time
25007.4 | 0.030102 | 25007.4 | 0.030102 | 25007.4 | 0.030102 | 25007.4 | 0.030102 | 25007.4 | 0.030102 | 25007.4 | 0.030102 | 25007.4 | 0.030102 | 25007.4 | 0.030102 | 25007.4 | 0.030102 | 25007.4 | 0.030223 | 25007.4 | 0.030223 | 25007.4 | 0.030313 | 25007.4 | 0.030404 | 25007.4 | 0.030618 | 24850.4 | 0.030859 | 24807.8 | 0.03161 | 24864.7 | 0.032139 | 24864.7 | 0.032677 | 24836.2 | 0.034643 | 24850.4 | 0.036391 | 24850.4 | 0.038802 | 24878.9 | 0.040854 | 24850.4 | 0.048013
21936.9 | 0.030771 | 22718.3 | 0.030618 | 22855 | 0.030618 | 23433.6 | 0.030526 | 22179.5 | 0.030771 | 22268.4 | 0.030679 | 22582.4 | 0.030679 | 22900.8 | 0.030618 | 23061.6 | 0.030618 | 23504 | 0.030526 | 22537.3 | 0.030771 | 23457 | 0.030679 | 22946.6 | 0.030895 | 22582.4 | 0.031174 | 22289.2 | 0.031484 | 22975.9 | 0.032139 | 20537.2 | 0.03355 | 21036.9 | 0.033936 | 23081.3 | 0.034922 | 21909.6 | 0.037405 | 22520.1 | 0.040273 | 21847 | 0.043709 | 22161.9 | 0.053042
20372.2 | 0.031174 | 21224.8 | 0.030988 | 21352.5 | 0.030988 | 22002.8 | 0.030771 | 20742.2 | 0.031174 | 20846.2 | 0.031081 | 21161.2 | 0.031081 | 21481 | 0.030988 | 21631.9 | 0.030988 | 22091 | 0.030895 | 21097.8 | 0.031174 | 22046.9 | 0.030988 | 21524 | 0.031299 | 21161.2 | 0.031677 | 18044.7 | 0.033149 | 20072.2 | 0.033377 | 16588.3 | 0.035936 | 16569.3 | 0.036517 | 21352.4 | 0.035385 | 17545.6 | 0.040924 | 19184.6 | 0.043935 | 19405.5 | 0.04782 | 18044.7 | 0.064148
18805.9 | 0.031677 | 19730.6 | 0.031393 | 19869.2 | 0.031393 | 20576.9 | 0.031174 | 19320.6 | 0.031582 | 19417.4 | 0.031487 | 19730.6 | 0.031487 | 20048.8 | 0.031393 | 20189.6 | 0.031393 | 20659.4 | 0.031299 | 19671.5 | 0.031582 | 20597.5 | 0.031487 | 20088.9 | 0.031804 | 19730.6 | 0.032188 | 14042.7 | 0.035833 | 17455.4 | 0.034902 | 13748.4 | 0.038558 | 13429.4 | 0.04002 | 18034.4 | 0.037149 | 14042.7 | 0.046524 | 16616.8 | 0.048399 | 16296.5 | 0.055943 | 14938.3 | 0.077979
17256.2 | 0.032188 | 18231.8 | 0.031899 | 18378.3 | 0.031804 | 19147.5 | 0.031582 | 17888.7 | 0.031995 | 17978.4 | 0.031995 | 18304.9 | 0.031899 | 18618.8 | 0.031804 | 18768.3 | 0.031804 | 19224.2 | 0.031677 | 18250.1 | 0.032091 | 19185.8 | 0.031899 | 18656 | 0.032285 | 18286.6 | 0.032707 | 11277.8 | 0.038448 | 15136.3 | 0.036475 | 11446.9 | 0.041657 | 10650.3 | 0.044645 | 15504.7 | 0.039587 | 10723.7 | 0.057141 | 14180 | 0.054834 | 13475.6 | 0.06871 | 12163.1 | 0.099009
15692.3 | 0.032805 | 16746.2 | 0.032382 | 16880.7 | 0.032285 | 17710.7 | 0.032091 | 16447.4 | 0.032511 | 16563 | 0.032511 | 16863.8 | 0.032382 | 17187.3 | 0.032285 | 17342.7 | 0.032285 | 17799.5 | 0.032188 | 16813.3 | 0.032609 | 17746.2 | 0.032382 | 17238.9 | 0.032904 | 16863.8 | 0.033401 | 8393.33 | 0.043212 | 12983.4 | 0.038536 | 9067.74 | 0.046818 | 8489.98 | 0.051339 | 12667.7 | 0.043634 | 8091.37 | 0.076344 | 12156.1 | 0.063345 | 11016.2 | 0.08719 | 10138.6 | 0.12738
14128.1 | 0.033401 | 15243.7 | 0.032904 | 15381.6 | 0.032904 | 16283.8 | 0.032609 | 15016.8 | 0.033102 | 15122.3 | 0.033003 | 15443.2 | 0.032904 | 15755.2 | 0.032805 | 15913.5 | 0.032805 | 16365.4 | 0.032707 | 15381.6 | 0.033201 | 16316.4 | 0.033003 | 15802.5 | 0.033501 | 15427.8 | 0.03411 | 6729.2 | 0.048095 | 11022.5 | 0.041112 | 7249.12 | 0.053623 | 6798.9 | 0.061031 | 10529.1 | 0.048733 | 6461.16 | 0.10096 | 10237.8 | 0.075952 | 9309.71 | 0.11032 | 8721.52 | 0.15825
12580.8 | 0.03411 | 13751.8 | 0.033602 | 13890 | 0.033501 | 14852.5 | 0.033102 | 13587.8 | 0.033703 | 13696.9 | 0.033602 | 14001.6 | 0.033501 | 14327.3 | 0.033401 | 14485.8 | 0.033401 | 14941.9 | 0.033301 | 13959.6 | 0.033804 | 14882.2 | 0.033602 | 14370.4 | 0.034212 | 14001.6 | 0.035008 | 5778.67 | 0.052559 | 9846.95 | 0.043088 | 6453.77 | 0.058298 | 5712.89 | 0.072303 | 8151.81 | 0.059751 | 4993.76 | 0.14472 | 8321.56 | 0.097546 | 7912.71 | 0.1396 | 7610.6 | 0.19829
11014 | 0.035008 | 12257.9 | 0.034315 | 12393.5 | 0.034212 | 13425.7 | 0.033703 | 12160.2 | 0.034418 | 12270.1 | 0.034315 | 12580.8 | 0.034212 | 12899.2 | 0.03411 | 13055 | 0.034008 | 13506.5 | 0.033906 | 12530.5 | 0.034625 | 13452.6 | 0.034418 | 12938 | 0.035114 | 12568.2 | 0.036002 | 4962.41 | 0.058499 | 8412.57 | 0.046551 | 5410.48 | 0.067967 | 4499.63 | 0.095228 | 6625.98 | 0.073513 | 3915.26 | 0.21228 | 6877.19 | 0.12759 | 6980.33 | 0.17096 | 6760.09 | 0.24341
9451.49 | 0.036002 | 10763.6 | 0.035114 | 10893.5 | 0.035008 | 12003.1 | 0.034418 | 10731.3 | 0.035219 | 10839.2 | 0.035114 | 11147 | 0.035008 | 11463.5 | 0.034904 | 11613.5 | 0.034799 | 12075.4 | 0.034695 | 11102.5 | 0.035431 | 12027.2 | 0.035219 | 11509.5 | 0.036075 | 11147 | 0.037285 | 4288.37 | 0.065898 | 7097.18 | 0.051339 | 4507.37 | 0.082338 | 3739.99 | 0.12077 | 5438.43 | 0.092646 | 3337.28 | 0.27719 | 6035.65 | 0.15528 | 6214.47 | 0.20581 | 5872.05 | 0.31404
7894.55 | 0.03721 | 9273.61 | 0.036075 | 9404.35 | 0.036002 | 10571.6 | 0.035325 | 9301.47 | 0.036075 | 9404.35 | 0.036075 | 9719.87 | 0.035895 | 10035.9 | 0.035787 | 10187.6 | 0.03568 | 10645.8 | 0.035609 | 9671.4 | 0.036474 | 10592.7 | 0.036292 | 10086.2 | 0.037397 | 9710.16 | 0.038923 | 3774.4 | 0.074147 | 6001.19 | 0.057899 | 3776.56 | 0.10154 | 3160.63 | 0.15325 | 4559.27 | 0.11656 | 2890.59 | 0.35743 | 5150.55 | 0.20081 | 5391.93 | 0.26207 | 5206.88 | 0.39284
6335.53 | 0.03869 | 7777.02 | 0.037285 | 7902.45 | 0.03721 | 9135.54 | 0.036183 | 7870.9 | 0.037285 | 7973.89 | 0.03721 | 8291.02 | 0.036988 | 8612.14 | 0.036877 | 8759.8 | 0.036803 | 9218.13 | 0.036583 | 8241.42 | 0.037811 | 9162.99 | 0.037584 | 8655.31 | 0.039118 | 8282.73 | 0.041124 | 3254.27 | 0.086544 | 5141.71 | 0.065822 | 3043.43 | 0.13519 | 2571.97 | 0.20938 | 3846.39 | 0.14901 | 2522.39 | 0.45721 | 4461.16 | 0.25525 | 4484.2 | 0.36134 | 4756.57 | 0.467
4773.94 | 0.040715 | 6278.76 | 0.038807 | 6412.01 | 0.03869 | 7707.34 | 0.037397 | 6444.15 | 0.03869 | 6548.09 | 0.038613 | 6856.33 | 0.038382 | 7179.09 | 0.038191 | 7331.45 | 0.038191 | 7784.8 | 0.038 | 6808.51 | 0.039511 | 7738.23 | 0.039314 | 7222.3 | 0.041371 | 6849.48 | 0.044415 | 2957.55 | 0.0971 | 4283.46 | 0.078877 | 2621.03 | 0.16989 | 2177.29 | 0.27592 | 3295.51 | 0.1892 | 2261.13 | 0.56155 | 3772.24 | 0.34064 | 3870.68 | 0.47455 | 4303.13 | 0.56998
3216.11 | 0.043798 | 4783.5 | 0.040837 | 4914.42 | 0.040633 | 6278.76 | 0.038807 | 5013.69 | 0.040633 | 5114.98 | 0.040512 | 5425.84 | 0.040229 | 5749.85 | 0.040028 | 5901.3 | 0.039908 | 6354.56 | 0.039709 | 5377.23 | 0.042081 | 6303.93 | 0.041662 | 5796.03 | 0.044997 | 5420.42 | 0.049779 | 2604.57 | 0.11405 | 3487.68 | 0.099691 | 2236.66 | 0.21819 | 1835.79 | 0.37205 | 2892.25 | 0.23291 | 1992.41 | 0.72245 | 3314.43 | 0.43128 | 3325.84 | 0.6373 | 3835.39 | 0.72038
1655.61 | 0.049481 | 3287.65 | 0.043711 | 3418.4 | 0.043492 | 4846.09 | 0.040837 | 3582.9 | 0.043276 | 3688.33 | 0.043189 | 3999.51 | 0.042888 | 4319.64 | 0.042589 | 4469.04 | 0.042504 | 4924.25 | 0.042292 | 3947.86 | 0.046321 | 4875.26 | 0.045585 | 4363.06 | 0.051397 | 5339.72 | 0.050279 | 2284.55 | 0.1362 | 2887.28 | 0.12811 | 1889.1 | 0.28886 | 1602.87 | 0.47618 | 2592.67 | 0.28135 | 1735.63 | 0.95917 | 2865.88 | 0.56867 | 2895.56 | 0.85148 | 3428.3 | 0.91833
95.1004 | 0.093372 | 1793.51 | 0.048989 | 1925.47 | 0.048598 | 3418.4 | 0.04358 | 2151.52 | 0.048259 | 2257.31 | 0.048067 | 2568.12 | 0.047636 | 2889.76 | 0.047209 | 3037.92 | 0.047115 | 3494.44 | 0.046599 | 2517.26 | 0.05579 | 3445.86 | 0.053228 | 4306.7 | 0.05181 | 5202.68 | 0.050988 | 2018.81 | 0.16266 | 2421.92 | 0.16519 | 1651.3 | 0.36655 | 1395.5 | 0.62181 | 2302.93 | 0.34734 | 1505.04 | 1.315 | 2535.42 | 0.72203 | 2518.07 | 1.16 | 3162.44 | 1.1017
92.9381 | 0.09431 | 299.146 | 0.077602 | 430.063 | 0.073302 | 1988.09 | 0.048598 | 721.932 | 0.067599 | 826.278 | 0.066194 | 1137.89 | 0.063029 | 1458.16 | 0.060618 | 1608.29 | 0.059715 | 2065.09 | 0.057489 | 2487.24 | 0.056182 | 3397.95 | 0.053709 | 4179.42 | 0.052593 | 5028.76 | 0.052122 | 1771.78 | 0.19955 | 2030.4 | 0.21819 | 1453.39 | 0.467 | 1254.54 | 0.76677 | 2026.92 | 0.439 | 1346.84 | 1.7379 | 2244.36 | 0.9321 | 2225.17 | 1.5821 | 2920.53 | 1.3202
89.0265 | 0.095831 | 294.398 | 0.078147 | 420.284 | 0.074113 | 558.319 | 0.070287 | 711.895 | 0.068006 | 813.976 | 0.066592 | 1110.9 | 0.063726 | 1425 | 0.061227 | 1579.6 | 0.060315 | 2034.34 | 0.057893 | 2428.25 | 0.05686 | 3277.8 | 0.05463 | 3896.87 | 0.054904 | 4788.29 | 0.053602 | 1537.26 | 0.25048 | 1657.94 | 0.30466 | 1295.41 | 0.57852 | 1117.54 | 0.97579 | 1770.76 | 0.56413 | 1194.95 | 2.4169 | 2014.2 | 1.1835 | 2008.44 | 2.1308 | 2686.35 | 1.6468
83.9259 | 0.098257 | 284.556 | 0.079407 | 403.401 | 0.075384 | 545.079 | 0.070994 | 685.351 | 0.069102 | 787.553 | 0.067666 | 1075.91 | 0.064689 | 1344.7 | 0.063092 | 1535.99 | 0.061105 | 1978.17 | 0.058768 | 2351.78 | 0.057893 | 3161.9 | 0.05579 | 3582.9 | 0.057777 | 4554.76 | 0.055345 | 1305.09 | 0.33217 | 1455.06 | 0.38726 | 1138.2 | 0.74641 | 990.949 | 1.2676 | 1515.42 | 0.76853 | 1093.49 | 3.2235 | 1781.95 | 1.5921 | 1835.79 | 2.8193 | 2482.28 | 2.0331
79.4346 | 0.10064 | 275.044 | 0.080607 | 381.431 | 0.077369 | 526.858 | 0.072211 | 665.096 | 0.070217 | 755.917 | 0.069102 | 1042.03 | 0.065667 | 1266.39 | 0.065143 | 1477.24 | 0.062339 | 1896.81 | 0.060015 | 2266.35 | 0.059121 | 3037.92 | 0.057088 | 3327.34 | 0.060678 | 4166.9 | 0.058768 | 1095.99 | 0.45538 | 1258.14 | 0.50252 | 994.929 | 0.98477 | 892.896 | 1.6123 | 1293.19 | 1.0768 | 979.668 | 4.885 | 1589.17 | 2.1479 | 1697.31 | 3.6857 | 2357.63 | 2.3608
74.2126 | 0.10371 | 263.204 | 0.082236 | 360.298 | 0.079566 | 508.737 | 0.073449 | 641.578 | 0.071421 | 719.769 | 0.070923 | 998.177 | 0.067262 | 1158.55 | 0.06862 | 1405.19 | 0.064109 | 1813.34 | 0.061596 | 2181.85 | 0.060376 | 2924.64 | 0.058474 | 3065.38 | 0.06456 | 3889.08 | 0.061842 | 965.194 | 0.57654 | 1045.13 | 0.72038 | 866.707 | 1.3355 | 802.246 | 2.1443 | 1133.65 | 1.4535 | 917.773 | 6.4339 | 1420.49 | 3.006 | 1578.29 | 4.8878 | 2206.14 | 2.9178
68.7127 | 0.10773 | 247.629 | 0.08474 | 336.276 | 0.082483 | 491.239 | 0.074708 | 612.734 | 0.073156 | 674.473 | 0.073449 | 944.76 | 0.06931 | 1078.07 | 0.071779 | 1316.76 | 0.066459 | 1714.59 | 0.063598 | 2081.67 | 0.06209 | 2710.61 | 0.061288 | 2795.95 | 0.06931 | 3586.49 | 0.065798 | 840.804 | 0.74941 | 920.404 | 0.92572 | 757.174 | 1.8466 | 737.073 | 2.7194 | 998.352 | 2.0111 | 853.902 | 9.3456 | 1319.36 | 3.8518 | 1487.06 | 6.4709 | 2142.66 | 3.2457
64.1314 | 0.11179 | 235.316 | 0.087059 | 299.146 | 0.088287 | 452.565 | 0.077757 | 580.524 | 0.075233 | 616.422 | 0.077369 | 895.096 | 0.071492 | 987.257 | 0.075989 | 1232.66 | 0.069172 | 1598.67 | 0.066459 | 1958.49 | 0.064624 | 2524.83 | 0.064431 | 2601.72 | 0.073522 | 3337.34 | 0.069867 | 739.609 | 0.96523 | 797.21 | 1.2389 | 674.872 | 2.5301 | 671.404 | 3.65 | 883.237 | 2.9684 | 806.852 | 13.692 | 1212.18 | 5.4777 | 1409.15 | 8.8458 | 2000.41 | 4.2238
59.26 | 0.1167 | 219.408 | 0.090251 | 268.522 | 0.094688 | 418.188 | 0.081417 | 549.457 | 0.077679 | 573.026 | 0.081092 | 842.127 | 0.074261 | 912.265 | 0.080527 | 1145.88 | 0.072645 | 1427.85 | 0.071635 | 1853.68 | 0.066792 | 2337.71 | 0.068006 | 2442.87 | 0.077991 | 3016.73 | 0.076676 | 643.923 | 1.2881 | 702.064 | 1.6355 | 612.988 | 3.5106 | 615.802 | 5.0615 | 793.113 | 4.6529 | 773.827 | 20.4778 | 1148.01 | 7.5354 | 1346.84 | 12.6663 | 1879.39 | 5.5503
53.6206 | 0.12391 | 205.189 | 0.09384 | 237.444 | 0.1035 | 386.036 | 0.085421 | 507.213 | 0.081499 | 535.891 | 0.084825 | 784.409 | 0.077679 | 845.502 | 0.085335 | 1058.84 | 0.076676 | 1303.65 | 0.076676 | 1733.55 | 0.070077 | 2106.81 | 0.073817 | 2291.42 | 0.082813 | 2759.84 | 0.083729 | 552.65 | 1.811 | 622.893 | 2.2053 | 557.416 | 4.8822 | 582.537 | 6.9789 | 746.842 | 6.2595 | 751.99 | 29.9331 | 1097.25 | 10.5276 | 1305.09 | 18.0128 | 1777.87 | 7.2104
48.8588 | 0.13197 | 190.363 | 0.098356 | 212.285 | 0.11302 | 351.402 | 0.090794 | 471.506 | 0.085506 | 492.715 | 0.08998 | 728.459 | 0.081907 | 779.717 | 0.09134 | 988.245 | 0.080769 | 1198.62 | 0.081989 | 1645.71 | 0.072937 | 1927.4 | 0.079805 | 2136.51 | 0.088641 | 2469.89 | 0.094028 | 489.767 | 2.4252 | 557.416 | 3.0267 | 519.218 | 6.7819 | 550.755 | 10.5155 | 706.904 | 8.4788 | 738.762 | 46.2266 | 1060.2 | 15.0832 | 1261.02 | 28.6585 | 1685.69 | 9.7222
45.2378 | 0.13943 | 176.431 | 0.1034 | 187.341 | 0.12616 | 317.962 | 0.097572 | 440.069 | 0.089711 | 447.167 | 0.097085 | 674.473 | 0.086712 | 708.345 | 0.099842 | 904.996 | 0.086712 | 1110.9 | 0.087583 | 1532.92 | 0.07706 | 1730.09 | 0.088287 | 1964.37 | 0.096988 | 2273.16 | 0.10361 | 446.131 | 3.1111 | 503.412 | 4.3789 | 485.579 | 10.3958 | 524.596 | 17.3051 | 679.524 | 11.2957 | 729.516 | 72.6677 | 1029.69 | 22.3143 | 1235.3 | 41.7474 | 1636.25 | 12.0922
41.5931 | 0.1491 | 160.763 | 0.11056 | 170.193 | 0.1386 | 289.146 | 0.10517 | 398.589 | 0.096601 | 398.988 | 0.1073 | 634.559 | 0.091066 | 655.849 | 0.1073 | 830.419 | 0.093559 | 1019.36 | 0.094783 | 1461.07 | 0.080286 | 1559.2 | 0.098356 | 1795.3 | 0.10719 | 2046.59 | 0.11752 | 410.123 | 4.0625 | 463.045 | 6.2954 | 460.402 | 17.2359 | 508.044 | 27.219 | 662.242 | 14.6072 | 722.865 | 113.58 | 1010.42 | 34.5793 | 1223.33 | 57.3314 | 1582.81 | 16.2302
37.635 | 0.16232 | 147.515 | 0.11811 | 151.856 | 0.15658 | 263.995 | 0.1137 | 365.743 | 0.10381 | 353.871 | 0.12001 | 595.816 | 0.095927 | 606.031 | 0.11646 | 753.652 | 0.10247 | 932.557 | 0.10361 | 1391.21 | 0.083897 | 1427.85 | 0.10827 | 1670.58 | 0.11705 | 1879.81 | 0.13092 | 383.772 | 5.2115 | 437.782 | 9.3402 | 444.856 | 28.0416 | 497.681 | 38.7749 | 642.45 | 19.8885 | 721.624 | 171.042 | 997.209 | 49.9702 | 1210.79 | 82.0464 | 1546.98 | 20.619
34.7067 | 0.17497 | 130.442 | 0.13171 | 139.342 | 0.17253 | 240.791 | 0.12379 | 330.607 | 0.11359 | 315.428 | 0.13572 | 551.66 | 0.10257 | 540.736 | 0.13224 | 686.723 | 0.11291 | 856.566 | 0.11348 | 1322.03 | 0.087759 | 1308.88 | 0.12037 | 1565.45 | 0.12692 | 1719.74 | 0.14776 | 365.753 | 6.7162 | 414.846 | 15.1091 | 435.782 | 46.5187 | 491.452 | 59.9842 | 625.394 | 29.8475 | 718.738 | 266.423 | 982.476 | 79.3664 | 1204.57 | 114.625 | 1519.76 | 26.8629
31.8149 | 0.19068 | 115.923 | 0.14747 | 123.462 | 0.20066 | 219.847 | 0.13572 | 296.169 | 0.12654 | 283.137 | 0.15318 | 497.17 | 0.11348 | 494.195 | 0.14747 | 641.578 | 0.12146 | 778.938 | 0.12642 | 1240.07 | 0.093279 | 1196.23 | 0.13477 | 1425 | 0.14339 | 1578.02 | 0.1671 | 349.58 | 8.9887 | 396.502 | 27.0636 | 429.343 | 86.5834 | 488.367 | 89.5071 | 617.213 | 39.1542 | 719.561 | 374.568 | 974.633 | 112.867 | 1201.13 | 172.517 | 1493.88 | 35.8495
28.8449 | 0.21179 | 103.33 | 0.16643 | 108.628 | 0.2376 | 201.528 | 0.1488 | 268.253 | 0.14069 | 251.371 | 0.17708 | 460.324 | 0.1228 | 453.925 | 0.16379 | 600.001 | 0.13118 | 712.608 | 0.14055 | 1180.78 | 0.098061 | 1093.27 | 0.15211 | 1315.44 | 0.16007 | 1425 | 0.19453 | 339.521 | 11.6505 | 385.313 | 47.4604 | 425.672 | 160.785 | 485.301 | 143.305 | 611.586 | 52.7033 | 719.15 | 482.993 | 969.624 | 166.5 | 1199.07 | 253.767 | 1471.81 | 50.7197
26.8948 | 0.22989 | 92.6597 | 0.18803 | 97.8987 | 0.27523 | 186.034 | 0.16314 | 245.656 | 0.15549 | 230.426 | 0.19866 | 416.935 | 0.13736 | 421.126 | 0.1812 | 547.811 | 0.14644 | 642.22 | 0.16087 | 1117.59 | 0.10381 | 952.348 | 0.18412 | 1211.88 | 0.17922 | 1301.05 | 0.22444 | 328.621 | 16.2488 | 378.535 | 70.6168 | 425.185 | 246.746 | 484.191 | 191.027 | 607.051 | 71.5939 | 723.278 | 595.258 | 966.853 | 273.691 | 1195.64 | 369.456 | 1457.56 | 68.6631
24.6046 | 0.25611 | 83.6745 | 0.21306 | 88.1406 | 0.32233 | 171.903 | 0.17922 | 226.089 | 0.17167 | 211.438 | 0.22421 | 384.495 | 0.15105 | 390.697 | 0.20086 | 512.823 | 0.15911 | 583.434 | 0.18375 | 1049.35 | 0.11156 | 867.774 | 0.21179 | 1097.65 | 0.20718 | 1198.62 | 0.25662 | 319.896 | 22.701 | 371.876 | 128.019 | 423.484 | 373.925 | 483.637 | 257.426 | 603.24 | 99.8512 |  |  | 963.538 | 419.775 | 1193.59 | 475.311 | 1446.75 | 95.8184
22.6222 | 0.28646 | 72.2357 | 0.25894 | 78.9594 | 0.38207 | 156.794 | 0.20166 | 207.044 | 0.19202 | 195.572 | 0.25053 | 352.811 | 0.16794 | 354.579 | 0.23081 | 473.395 | 0.17725 | 533.752 | 0.20843 | 991.214 | 0.11894 | 791.501 | 0.24459 | 977.434 | 0.24829 | 1128.82 | 0.28361 | 313.191 | 31.5341 | 368.697 | 195.565 | 423.242 | 529.635 | 483.083 | 345.516 | 600.14 | 141.511 |  |  | 963.538 | 518.829 | 1194.27 | 516.162 | 1441.79 | 135.33
20.4081 | 0.32983 | 61.9876 | 0.32298 | 70.1008 | 0.4634 | 145.755 | 0.22243 | 188.657 | 0.21824 | 173.284 | 0.30024 | 324.061 | 0.18784 | 333.596 | 0.25305 | 436.999 | 0.19806 | 485.38 | 0.23999 | 902.285 | 0.1333 | 729.188 | 0.27883 | 886.19 | 0.29108 | 1065.21 | 0.31438 | 307.154 | 44.4359 | 365.126 | 309.722 | 423.242 | 597.306 | 483.083 | 455.592 | 598.082 | 196.238 | [6 empty] | 1438.49 | 194.671
18.8203 | 0.37189 | 55.2536 | 0.38475 | 62.9874 | 0.55368 | 134.684 | 0.24854 | 168.162 | 0.25713 | 153.382 | 0.36562 | 297.356 | 0.21158 | 310.732 | 0.28219 | 404.613 | 0.2211 | 442.275 | 0.27716 | 840.444 | 0.14541 | 680.57 | 0.31187 | 795.468 | 0.34779 | 1005.18 | 0.34918 | 304.179 | 58.7268 | 362.004 | 467.483 |  |  | 482.807 | 569.257 | 596.031 | 265.662 | [6 empty] | 1436.02 | 264.902
17.6712 | 0.41141 | 50.2462 | 0.44702 | 55.5306 | 0.68924 | 123.956 | 0.27966 | 150.194 | 0.30509 | 140.321 | 0.42267 | 273.672 | 0.23784 | 286.269 | 0.32009 | 374.627 | 0.24829 | 389.916 | 0.34022 | 788.341 | 0.15832 | 641.578 | 0.34467 | 727.731 | 0.40326 | 952.348 | 0.38668 | 301.578 | 77.0381 | 361.176 | 597.991 |  |  | 483.637 | 592.877 | 596.372 | 360.677 | [6 empty] | 1436.85 | 357.593
16.6421 | 0.45468 | 46.2904 | 0.51009 | 50.1458 | 0.82517 | 115.576 | 0.31063 | 138.786 | 0.34398 | 127.222 | 0.50099 | 245.901 | 0.27938 | 261.892 | 0.37003 | 351.051 | 0.27495 | 362.829 | 0.38514 | 725.551 | 0.17761 | 597.008 | 0.38978 | 686.037 | 0.44791 | 880.888 | 0.44612 | 300.544 | 101.174 | [6 empty] | 598.424 | 458.733 | [6 empty] | 1435.2 | 453.51
15.6729 | 0.50704 | 43.2905 | 0.57169 | 45.2378 | 0.9889 | 106.797 | 0.34988 | 130.182 | 0.38054 | 119.933 | 0.55147 | 217.877 | 0.33583 | 241.515 | 0.42352 | 323.737 | 0.31218 | 337.286 | 0.43511 | 667.094 | 0.20045 | 561.679 | 0.43121 | 649.973 | 0.48814 | 832.082 | 0.497 | 299 | 135.796 | [6 empty] | 600.484 | 590.167 | [6 empty] | 1433.56 | 517.938
14.8045 | 0.5643 | 40.8511 | 0.62929 | 42.0111 | 1.1375 | 98.7838 | 0.39607 | 123.215 | 0.4143 | 112.948 | 0.60704 | 197.933 | 0.39331 | 212.498 | 0.52405 | 303.06 | 0.34814 | 320.516 | 0.47704 | 577.629 | 0.24879 | 531.09 | 0.47418 | 616.422 | 0.53786 | 784.409 | 0.55925 | 299.171 | 192.014
14.2098 | 0.61314 | 38.5492 | 0.69408 | 39.4855 | 1.2761 | 90.6435 | 0.45559 | 116.971 | 0.45151 | 106.69 | 0.67155 | 175.727 | 0.48087 | 192.276 | 0.6249 | 274.22 | 0.41182 | 305.494 | 0.51988 | 504.179 | 0.30939 | 509.246 | 0.51265 | 587.532 | 0.58851 | 740.208 | 0.62741 | 299.685 | 263.843
13.5033 | 0.68512 | 35.8712 | 0.78808 | 37.3351 | 1.426 | 83.5073 | 0.52196 | 111.044 | 0.49403 | 98.3895 | 0.77479 | 157.108 | 0.58557 | 175.551 | 0.73333 | 253.644 | 0.47135 | 294.103 | 0.55813 | 457.113 | 0.36416 | 489.768 | 0.55258 | 551.66 | 0.66222 | 701.998 | 0.69896 | 299.857 | 372.643
12.7934 | 0.77324 | 33.4795 | 0.88944 | 35.979 | 1.5355 | 78.5656 | 0.58033 | 104.682 | 0.5449 | 92.7524 | 0.86575 | 143.299 | 0.68787 | 161.569 | 0.84945 | 231.119 | 0.55368 | 278.086 | 0.61683 | 409.498 | 0.44036 | 470.564 | 0.59324 | 521.094 | 0.73996 | 669.768 | 0.77016 | 300.372 | 512.628
11.9763 | 0.90198 | 31.6562 | 0.98397 | 34.4991 | 1.6717 | 74.8087 | 0.63498 | 99.5772 | 0.59383 | 85.9644 | 0.99485 | 129.144 | 0.83264 | 150.796 | 0.96449 | 211.438 | 0.64587 | 267.182 | 0.66687 | 381.813 | 0.49899 | 440.509 | 0.6729 | 490.258 | 0.83597 | 626.364 | 0.88767 | 300.544 | 597.648
11.4036 | 1.0262 | 29.664 | 1.1061 | 33.246 | 1.8037 | 69.7511 | 0.71737 | 93.7783 | 0.66023 | 82.0176 | 1.0918 | 120.173 | 0.95203 | 140.883 | 1.1039 | 188.657 | 0.7952 | 257.735 | 0.71451 | 361.38 | 0.54817 | 417.77 | 0.74889 | 461.246 | 0.94823 | 597.606 | 0.98299
10.9128 | 1.1616 | 27.2467 | 1.2902 | 31.9744 | 1.9676 | 65.8207 | 0.79839 | 86.309 | 0.76632 | 77.5508 | 1.2175 | 112.835 | 1.0756 | 131.358 | 1.2609 | 173.457 | 0.93785 | 246.887 | 0.77712 | 343.756 | 0.5998 | 389.526 | 0.86316 | 439.19 | 1.049 | 561.679 | 1.1318
10.4744 | 1.315 | 25.4047 | 1.4723 | 30.8746 | 2.1209 | 62.423 | 0.8762 | 79.9126 | 0.88059 | 73.3274 | 1.3605 | 106.264 | 1.2042 | 123.092 | 1.4345 | 163.847 | 1.049 | 234.611 | 0.85885 | 330.277 | 0.64716 | 367.576 | 0.97418 | 424.084 | 1.1341 | 530.559 | 1.2902
10.1141 | 1.4708 | 23.9013 | 1.6501 | 29.7234 | 2.3068 | 58.7878 | 0.98594 | 74.5846 | 1.0028 | 70.2411 | 1.4901 | 101.588 | 1.3216 | 116.855 | 1.5997 | 153.843 | 1.1934 | 221.391 | 0.96835 | 314.169 | 0.71166 | 347.558 | 1.0951 | 407.863 | 1.2434 | 504.179 | 1.4562
9.8054 | 1.6337 | 22.6902 | 1.8182 | 28.7873 | 2.4889 | 56.1448 | 1.082 | 69.8908 | 1.1364 | 66.7486 | 1.6634 | 96.5377 | 1.4694 | 109.939 | 1.831 | 145.319 | 1.3456 | 208.29 | 1.1017 | 297.952 | 0.78729 | 327.318 | 1.2446 | 395.018 | 1.3296 | 485.865 | 1.5902
9.4021 | 1.8905 | 21.6268 | 2.0014 | 27.6862 | 2.7151 | 53.7817 | 1.1804 | 65.5579 | 1.2864 | 63.3664 | 1.8679 | 92.9381 | 1.587 | 104.682 | 2.0357 | 136.993 | 1.5324 | 198.528 | 1.2212 | 283.988 | 0.86402 | 310.111 | 1.4047 | 382.195 | 1.4331 | 472.45 | 1.7089
9.1334 | 2.1061 | 20.7788 | 2.1724 | 26.5475 | 3.0067 | 51.6729 | 1.2787 | 62.1738 | 1.4317 | 60.4571 | 2.0747 | 89.1155 | 1.7417 | 98.9816 | 2.3183 | 130.703 | 1.7021 | 190.363 | 1.3349 | 268.79 | 0.96449 | 296.466 | 1.5525 | 367.209 | 1.5791 | 456.2 | 1.8792
8.8901 | 2.3675 | 19.8844 | 2.3818 | 25.532 | 3.2931 | 49.6965 | 1.3866 | 58.8466 | 1.6045 | 57.7391 | 2.323 | 85.5357 | 1.9076 | 93.3106 | 2.6561 | 124.453 | 1.9057 | 183.081 | 1.4679 | 256.706 | 1.0585 | 282.289 | 1.7556 | 354.579 | 1.7261 | 439.629 | 2.0706
8.7141 | 2.6218 | 19.1429 | 2.5931 | 24.6292 | 3.6069 | 47.6048 | 1.5172 | 55.8089 | 1.7911 | 55.1984 | 2.5957 | 81.2827 | 2.1444 | 89.8313 | 2.9149 | 118.739 | 2.1422 | 176.255 | 1.6013 | 244.675 | 1.1675 | 270.678 | 1.9442 | 342.041 | 1.8867 | 421.126 | 2.3276
8.5074 | 2.9857 | 18.3739 | 2.8486 | 23.8536 | 3.9269 | 45.1023 | 1.6902 | 53.1402 | 1.9894 | 52.7695 | 2.912 | 77.4733 | 2.4057 | 85.1091 | 3.3396 | 113.061 | 2.4274 | 170.875 | 1.7312 | 232.742 | 1.2993 | 263.204 | 2.0935 | 330.607 | 2.0562 | 407.048 | 2.5596
8.3223 | 3.3833 | 17.742 | 3.1014 | 23.1717 | 4.2369 | 43.2905 | 1.8549 | 50.4475 | 2.223 | 50.8527 | 3.2344 | 73.8425 | 2.6935 | 80.7158 | 3.853 | 108.086 | 2.7151 | 165.163 | 1.8829 | 223.616 | 1.4288 | 254.66 | 2.2884 | 318.28 | 2.2815 | 393.835 | 2.8203
8.1331 | 3.9465 | 17.166 | 3.3563 | 22.0858 | 4.8445 | 41.2204 | 2.0582 | 47.9392 | 2.4964 | 48.6637 | 3.6761 | 71.018 | 2.9768 | 76.3199 | 4.5034 | 103.641 | 3.0552 | 160.442 | 2.0175 | 212.71 | 1.6013 | 246.887 | 2.5114 | 304.884 | 2.5673 | 379.909 | 3.1294
8.012 | 4.4497 | 16.5425 | 3.6761 | 21.3902 | 5.3326 | 39.3279 | 2.2861 | 45.3284 | 2.843 | 46.99 | 4.1158 | 68.3016 | 3.2997 | 73.6213 | 5.0271 | 99.7766 | 3.4104 | 155.233 | 2.2097 | 204.574 | 1.7574 | 239.83 | 2.7315 | 295.873 | 2.8203 | 368.681 | 3.4378
7.869 | 5.1031 | 15.9098 | 4.0667 | 20.7788 | 5.8348 | 37.7858 | 2.5014 | 43.5511 | 3.1545 | 45.3738 | 4.6221 | 65.1657 | 3.7578 | 71.018 | 5.6285 | 96.1523 | 3.8108 | 150.345 | 2.4057 | 196.749 | 1.9345 | 231.581 | 3.0157 | 284.272 | 3.1767 | 359.578 | 3.7541
7.7596 | 5.8641 | 15.3319 | 4.4944 | 20.2455 | 6.3271 | 35.9071 | 2.8118 | 41.8016 | 3.4898 | 43.7694 | 5.2166 | 62.9244 | 4.1323 | 68.5069 | 6.3525 | 93.2173 | 4.2412 | 144.739 | 2.6694 | 189.792 | 2.123 | 224.512 | 3.3163 | 277.531 | 3.4793 | 349.999 | 4.1406
7.6441 | 6.7318 | 14.9085 | 4.8688 | 19.7062 | 6.9368 | 34.6374 | 3.0582 | 40.1224 | 3.88 | 42.1373 | 5.9467 | 60.9427 | 4.5487 | 66.3493 | 7.1552 | 90.5529 | 4.7343 | 139.621 | 2.9798 | 181.623 | 2.3889 | 216.357 | 3.6797 | 268.522 | 3.8995 | 343.412 | 4.4765
7.5378 | 7.6358 | 14.4535 | 5.3594 | 19.2774 | 7.5071 | 33.513 | 3.3063 | 38.5106 | 4.3225 | 40.7695 | 6.7318 | 58.7878 | 5.0929 | 64.5173 | 8.0112 | 88.1406 | 5.306 | 134.28 | 3.3529 | 173.457 | 2.7097 | 209.543 | 4.0912 | 263.995 | 4.2497 | 336.276 | 4.8981
7.4479 | 8.7744 | 14.0403 | 5.8994 | 18.8203 | 8.247 | 32.5551 | 3.5461 | 37.0376 | 4.8203 | 39.525 | 7.6053 | 57.2217 | 5.5892 | 62.8615 | 8.9696 | 85.4502 | 6.0548 | 128.757 | 3.8223 | 166.157 | 3.0552 | 204.984 | 4.4408 | 257.735 | 4.706 | 329.287 | 5.3754
7.3738 | 10.2455 | 13.6526 | 6.5656 | 18.3923 | 9.0417 | 31.4668 | 3.8568 | 35.9071 | 5.2532 | 38.5106 | 8.5322 | 55.6418 | 6.1833 | 60.9427 | 10.2969 | 83.3404 | 6.8609 | 125.202 | 4.2412 | 160.121 | 3.431 | 199.923 | 4.8688 | 252.884 | 5.1699 | 322.122 | 5.9586
7.3078 | 12.2784 | 13.4091 | 7.0699 | 18.0823 | 9.8537 | 30.3845 | 4.2412 | 35.0556 | 5.6116 | 37.5222 | 9.5912 | 54.1595 | 6.7859 | 59.557 | 11.7381 | 80.7965 | 8.1894 | 122.355 | 4.6313 | 154.768 | 3.8261 | 195.572 | 5.3113 | 248.373 | 5.7595 | 316.692 | 6.5198
7.2423 | 14.7294 | 13.078 | 7.8291 | 17.7597 | 10.7386 | 29.3982 | 4.6406 | 34.19 | 6.0548 | 36.6691 | 10.6636 | 52.8223 | 7.4846 | 58.6703 | 13.2215 | 78.6442 | 9.7167 | 119.693 | 5.1595 | 150.495 | 4.1739 | 191.126 | 5.9053 | 243.211 | 6.5003 | 311.043 | 7.1696
7.1918 | 17.5814 | 12.7296 | 8.722 | 17.4953 | 11.6796 | 28.4439 | 5.1133 | 33.4126 | 6.5394 | 36.051 | 11.8561 | 51.6213 | 8.247 | 57.5661 | 15.3152 | 76.5492 | 11.7616 | 117.206 | 5.7941 | 147.515 | 4.4989 | 187.341 | 6.4938 | 237.206 | 7.4622 | 304.884 | 7.9236
7.1416 | 21.3242 | 12.4526 | 9.7264 | 17.2866 | 12.8307 | 27.274 | 5.748 | 32.751 | 7.0065 | 35.5143 | 13.103 | 50.7004 | 9.0417 | 56.5392 | 18.1531 | 74.6592 | 14.237 | 114.312 | 6.5985 | 144.739 | 4.8396 | 183.448 | 7.2344 | 232.742 | 8.4304 | 297.952 | 9.1143
7.1416 | 24.8994 | 12.1939 | 10.9336 | 17.0634 | 14.237 | 26.5475 | 6.2392 | 31.9744 | 7.6281 | 35.0205 | 15.057 | 49.8458 | 9.9726 | 55.6418 | 22.128 | 72.9616 | 17.7937 | 112.61 | 7.3658 | 142.299 | 5.2427 | 179.995 | 8.0353 | 228.362 | 9.5529 | 292.344 | 10.225
7.1202 | 30.3212 | 11.9644 | 12.6777 | 16.8767 | 15.7658 | 25.8144 | 6.7927 | 31.404 | 8.1976 | 34.4991 | 17.9725 | 49.202 | 10.8791 | 54.978 | 26.5717 | 72.0193 | 20.0223 | 110.049 | 8.5921 | 139.9 | 5.6964 | 176.431 | 9.0056 | 224.064 | 11.0545 | 286.842 | 11.6213
7.106 | 36.9974 | 11.8335 | 13.983 | 16.6921 | 17.6343 | 25.1771 | 7.351 | 30.7821 | 8.8538 | 34.1559 | 20.4472 | 48.276 | 12.377 | 54.5945 | 32.2606 | 71.374 | 22.5976 | 107.978 | 9.8932 | 137.542 | 6.2516 | 173.978 | 10.0226 | 219.847 | 12.8051 | 281.443 | 13.4213
7.0989 | 50.1414 | 11.6923 | 15.6558 | 16.5425 | 19.823 | 24.7032 | 7.9078 | 30.2028 | 9.7361 | 33.816 | 24.382 | 47.32 | 14.3513 | 54.5945 | 39.839 | 70.4522 | 26.5451 | 105.84 | 11.4598 | 135.088 | 6.9716 | 170.704 | 11.2441 | 215.494 | 15.2083 | 276.699 | 15.3612
7.0705 | 63.9338 | 11.5992 | 17.5463 | 16.3943 | 22.3058 | 24.2383 | 8.4896 | 29.7531 | 10.4212 | 33.6137 | 28.6412 | 46.6155 | 16.5907 | 54.5945 | 49.0994 | 69.8209 | 30.5036 | 103.952 | 13.4482 | 132.546 | 7.79 | 167.994 | 12.6018 | 210.804 | 18.2077 | 272.307 | 17.4239
7.0635 | 90.0936 | 11.5182 | 19.8429 | 16.2637 | 25.3263 | 23.8536 | 9.1967 | 29.2809 | 11.4712 | 33.5466 | 33.7455 | 45.8756 | 19.7242 | 54.5945 | 65.095 | 69.1954 | 35.3694 | 101.996 | 16.3111 | 130.573 | 8.6525 | 165.825 | 14.039 | 206.424 | 22.8247 | 267.985 | 20.0623
7.0635 | 116.146 | 11.4608 | 22.1502 | 16.1502 | 28.6985 | 23.4749 | 10.0226 | 28.9895 | 12.3276 | 33.4795 | 39.2852 | 45.4646 | 23.3792 | 54.5945 | 85.5285 | 68.5069 | 43.5038 | 99.4777 | 21.2604 | 128.5 | 9.707 | 163.519 | 15.5156 | 202.741 | 28.5554 | 262.416 | 24.2361
7.0564 | 163.179 | 11.3809 | 25.5809 | 16.0536 | 32.1318 | 23.0792 | 10.9774 | 28.7298 | 13.3543 | 33.3125 | 47.1742 | 45.0122 | 27.4906 | 54.5945 | 123.575 | 67.8931 | 54.2633 | 98.0947 | 25.5553 | 126.587 | 10.89 | 161.407 | 17.4937 | 199.125 | 34.9126 | 258.768 | 27.7947
7.0564 | 213.119 | 11.3581 | 30.0195 | 15.9416 | 37.2573 | 22.804 | 11.8798 | 28.3587 | 15.254 | 33.1796 | 57.1025 | 44.6089 | 32.8794 | 54.5945 | 170.008 | 67.3521 | 67.7516 | 97.0216 | 30.0495 | 124.952 | 12.0956 | 159.482 | 19.7439 | 195.768 | 45.9635 | 255.17 | 32.1318
7.0564 | 316.667 | 11.3468 | 34.6344 | 15.8939 | 42.9848 | 22.5319 | 12.9986 | 28.302 | 17.4937 | 33.0802 | 69.1895 | 44.3864 | 39.0502 | 54.5945 | 228.115 | 66.8823 | 88.398 | 95.7685 | 36.8128 | 123.215 | 13.997 | 157.58 | 22.3952 | 192.661 | 59.2549 | 251.623 | 37.1085
7.0564 | 409.875 | 11.3468 | 40.7659 | 15.8621 | 49.4443 | 22.2854 | 14.1094 | 28.302 | 20.264 | 32.9811 | 84.6774 | 44.1651 | 49.3949 | 54.5945 | 306.081 | 66.3493 | 117.313 | 95.0054 | 43.0709 | 121.38 | 16.0522 | 155.856 | 26.0195 | 189.792 | 75.6297 | 248.125 | 42.8989
7.0564 | 484.856 | 11.3468 | 49.5929 | 15.8621 | 57.6188 | 22.13 | 15.5 | 28.302 | 24.1635 | 32.9152 | 98.1846 | 44.0768 | 60.2106 | 54.54 | 429.599 | 66.1506 | 161.233 | 93.8721 | 52.8178 | 119.933 | 18.7998 | 154.151 | 29.249 | 187.341 | 94.9974 | 245.165 | 48.4653
7.0564 | 543.404 | 11.3468 | 59.9103 | 15.8463 | 69.1203 | 21.9976 | 17.0448 | 28.302 | 28.8135 | 32.9152 | 120.043 | 44.0768 | 76.696 | 54.54 | 520.533 | 65.8865 | 210.366 | 93.0311 | 67.2118 | 118.384 | 21.9737 | 152.312 | 34.3584 | 184.737 | 124.318 | 242.24 | 56.3086
7.0564 | 599.954 | 11.3468 | 74.6529 | 15.8463 | 82.1748 | 21.8879 | 18.7434 | 28.302 | 35.0525 | 32.9152 | 146.914 | 44.0328 | 103.839 | 54.54 | 577.584 | 65.8865 | 270.657 | 92.0134 | 85.9572 | 117.206 | 25.4279 | 150.495 | 40.8476 | 182.716 | 159.309 | 239.112 | 64.5118
|  | 11.3468 | 93.8642 | 15.8463 | 100.469 | 21.8879 | 599.954 | 28.302 | 45.5061 | 32.9152 | 184.352 | 43.9888 | 130.823 | 54.54 | 599.954 | 65.8865 | 332.57 | 91.3715 | 104.988 | 116.155 | 29.6317 | 148.551 | 53.5624 | 181.26 | 207.027 | 236.023 | 76.696
|  | 11.3468 | 118.729 | 15.8463 | 118.137 |  |  | 28.302 | 58.9593 | 32.9152 | 229.488 | 43.8132 | 176.593 |  |  | 65.8865 | 414.823 | 90.8249 | 126.703 | 114.885 | 35.868 | 147.368 | 64.1259 | 179.995 | 258.747 | 233.441 | 88.8411
|  | 11.3468 | 149.134 | 15.8463 | 138.082 |  |  | 28.302 | 74.6529 | 32.9152 | 271.741 | 43.7694 | 238.853 |  |  | 65.8865 | 491.692 | 90.3719 | 155.066 | 113.969 | 42.8132 | 146.193 | 76.4662 | 178.74 | 325.985 | 230.888 | 101.58
|  | 11.3354 | 202.32 | 15.8463 | 163.016 |  |  | 28.302 | 86.8211 | 32.9152 | 367.18 | 43.6819 | 305.47 |  |  | 65.8865 | 566.147 | 89.8313 | 201.714 | 113.061 | 51.9794 | 144.884 | 98.0865 | 177.493 | 415.238 | 228.133 | 122.223
|  | 11.3354 | 259.265 | 15.8463 | 201.915 |  |  | 28.302 | 108.185 | 32.9152 | 453.435 | 43.6382 | 375.347 |  |  | 65.8865 | 599.954 | 89.3833 | 255.66 | 112.497 | 61.2429 | 144.017 | 115.451 | 176.431 | 499.123 | 225.864 | 146.914
|  | 11.3354 | 319.85 | 15.8463 | 248.105 |  |  | 28.302 | 129.781 | 32.9152 | 529.458 | 43.464 | 473.832 |  |  |  |  | 88.7598 | 336.249 | 111.601 | 74.9521 | 142.869 | 141.153 | 175.903 | 559.393 | 223.616 | 178.19
|  | 11.3354 | 399.755 | 15.8463 | 306.081 |  |  | 28.302 | 164.654 | 32.9152 | 573.555 | 43.3772 | 550.514 |  |  |  |  | 88.3171 | 422.78 | 111.267 | 87.0819 | 142.299 | 170.861 | 175.2 | 599.954 | 221.391 | 209.108
|  | 11.3354 | 489.24 | 15.8463 | 366.813 |  |  | 28.302 | 205.789 | 32.9152 | 599.954 | 43.2905 | 599.954 |  |  |  |  | 87.8766 | 513.81 | 110.712 | 106.043 | 141.873 | 216.34 |  |  | 220.067 | 251.602
|  | 11.3354 | 571.837 | 15.8463 | 436.092 |  |  | 28.302 | 248.353 | [8 empty] | 87.701 | 578.74 | 110.27 | 127.593 | 141.731 | 278.621 |  |  | 218.75 | 299.122
|  | 11.3354 | 599.954 | 15.8463 | 504.139 |  |  | 28.302 | 301.826 | [8 empty] | 87.5258 | 599.954 | 109.939 | 173.964 | 141.306 | 359.549 |  |  | 217.659 | 362.075
|  |  |  | 15.8304 | 574.128 |  |  | 28.302 | 377.606 | [10 empty] | 109.61 | 223.598 | 141.306 | 461.21 |  |  | 216.357 | 446.684
|  |  |  | 15.8304 | 599.954 |  |  | 28.302 | 467.244 | [10 empty] | 109.391 | 282.549 | 141.306 | 569.554 |  |  | 215.494 | 553.827
[8 empty] | 28.302 | 552.721 | [10 empty] | 108.954 | 347.878 | 141.165 | 599.954 |  |  | 214.633 | 599.954
[8 empty] | 28.302 | 599.954 | [10 empty] | 108.519 | 424.899
[20 empty] | 108.194 | 488.262
[20 empty] | 107.87 | 568.984
[20 empty] | 107.762 | 599.954